## Slide 1
ritec2500

## Slide 2
I1
I2
Chart: 功率输出级漏极电压
With load
U_primary = 96V
U_secondary = 440V

## Slide 3
AC: 260mv
DC: 840mv
I = 0.26A
Liw = U
Without load
U_primary = 276V
U_secondary = 520V

## Slide 4
问题梳理

## Slide 5
1. 电源模块

## Slide 7
I(R3)
V(R3)
vout
Normal operation

## Slide 8
I(R3)
V(R3)
vout
Low current condition

## Slide 9
Solution:
Larger capacitor

## Slide 10
2. 自举升压方案、体积与功率的问题

## Slide 11
Bootstrap
High-side drive voltage
Low-side drive voltage

## Slide 12
Monostable trigger
Full bridge

## Slide 13
output

## Slide 16
工作计划

## Slide 17
重新制定手持式电磁超声设备方案
Ritec2500功率放大部分仿真，复现ritec2500，联系商家定制变压器
RF TRANSFORMER

## Slide 18
Field dependence of coupling efficiency between electromagnetic field and ultrasonic bulk waves
Different material
Different thickness

## Slide 19
Static bias field
Permeability

## Slide 20
Find A B satisfies spiral coil
A
B
C

## Slide 21
测厚线圈设计:
1. 理论分析
2. Solidworks
3. comsol
电路实验:
1. ADUM3223
2. 输出仿真